## all_results2
Resistances | [9 empty] | Calculated Intensities (no coefficient in equation as it would cancel)
intensity | none1 | none5 | none6 | red1 | red4 | green1 | green5 | green6 | blue6 | none1 | none5 | none6 | red1 | red4 | green1 | green5 | green6 | blue6
0.021626 | 2163.7547 | 674.1518 | 832.6685 | 3052.8926 | 1068.1617 | 4653.3412 | 1879.4234 | 1719.0433 | 8144.6801 | 1.6514e-06 | 1.247e-05 | 8.6472e-06 | 9.0923e-07 | 5.615e-06 | 4.3784e-07 | 2.1083e-06 | 2.4609e-06 | 1.659e-07
0.0071818 | 3571.3711 | 1424.0161 | 1337.6362 | 5785.7331 | 2044.0161 | 8665.3448 | 3710.8205 | 3582.8748 | 22998.9254 | 6.9274e-07 | 3.4108e-06 | 3.8016e-06 | 3.0014e-07 | 1.8227e-06 | 1.49e-07 | 6.4823e-07 | 6.8889e-07 | 2.7432e-08
0.0035431 | 5155.0834 | 1818.991 | 2070.9582 | 9744.87 | 3083.2077 | 14778.0759 | 5700.7238 | 6343.6746 | 55968.2813 | 3.6662e-07 | 2.2312e-06 | 1.7818e-06 | 1.2156e-07 | 8.9378e-07 | 5.9057e-08 | 3.0794e-07 | 2.5586e-07 | 5.8702e-09
0.0021042 | 6953.1831 | 3089.3926 | 2879.1562 | 15057.2278 | 4808.5325 | 22814.8436 | 8796.6912 | 9337.1156 | 195717.0887 | 2.1824e-07 | 8.9068e-07 | 1.0064e-06 | 5.7172e-08 | 4.1364e-07 | 2.7817e-08 | 1.4517e-07 | 1.3091e-07 | 6.7001e-10
0.0013923 | 8903.9177 | 3344.7002 | 3888.9178 | 22107.7932 | 6457.7462 | 34750.8562 | 10607.4129 | 12725.5829 | 8168061.7978 | 1.4215e-07 | 7.7614e-07 | 5.9763e-07 | 2.9377e-08 | 2.4808e-07 | 1.3412e-08 | 1.0494e-07 | 7.6534e-08 | 1.0392e-12
0.00098888 | 12350.3752 | 4259.1855 | 4620.2663 | 29688.7554 | 9590.8705 | 61621.3032 | 17169.8497 | 17354.683 | 8188000 | 8.061e-08 | 5.1046e-07 | 4.4329e-07 | 1.762e-08 | 1.2496e-07 | 4.9682e-09 | 4.5533e-08 | 4.4696e-08 | 1.0348e-12
[9 empty] | Powers | Transparencies
[8 empty] | none1 | -1.796 | red1 | green1 | green5 | green6 | blue6
[8 empty] | none5 | -1.74 | 55.06% | 26.51% | 16.91% | 28.46% | 1.919%
[8 empty] | none6 | -1.665 | 43.33% | 21.51% | 19.01% | 18.12% | 0.7216%
[8 empty] | average | -1.7337 | 33.16% | 16.11% | 13.8% | 14.36% | 0.3294%
[10 empty] | 26.2% | 12.75% | 16.3% | 13.01% | 0.06657%
[10 empty] | 20.67% | 9.435% | 13.52% | 12.81% | 0.0001739%
[10 empty] | 21.86% | 6.163% | 8.92% | 10.08% | 0.0002334%
[10 empty] | 33.38% | 15.41% | 14.74% | 16.14% | 0.5061%
There is too much variance in the calculated transparencies to use it to accurately predict what colour of piece is in. The lines on the graph should be horizontal and parrallel.
Only empty slots are used to calculate curves as pieces could interfere with results. The power trendline fits the data best(without overfitting it). The coefficients aren't considered as they will be calibrated individually when the toy boots. By averaging the powers, I am effectively finding the geometric mean.